## Slide 1: ABB Predicting Flowmeter Performance with a Digital Twin
Meshed model of an EM flowmeter used to create a digital twin
Electromagnetic flowmeters
  Simplicity of installation
  Negligible impact on pressure drop
  High accuracy
  Enable accurate measurement at low flow rates
ABB seeks to improve flowmeter designs to meet:
  High performance standards
  Cost optimization demands
Digital twin
  Based on predictive model
  Can predict flowmeter performance
  Minimizes the need for testing
“ABB’s Electromagnetic Flowmeter Digital Twin Drives Performance” COMSOL News 2019, Subhashish Dasgupta and Vinay Kariwala, ABB, India

## Slide 2: ABB Predicting Flowmeter Performance with a Digital Twin
Hydraulic stress field in an electromagnetic flowmeter
Multiphysics model of an electromagnetic flowmeter
  Electromagnetism
  Fluid dynamics
  Thermal propagation
  Structural dynamics
95% agreement between model results and field tests for calculated sensitivities
Digital twin based on multiphysics model enables ABB to:
  Predict flowmeter performance
  Improve the design of flowmeters
“ABB’s Electromagnetic Flowmeter Digital Twin Drives Performance” COMSOL News 2019, Subhashish Dasgupta and Vinay Kariwala, ABB, India